## APMC_Bill of Quantities
BILL OF QUANTITIES- AMAI PAKPAK MEDICAL CENTER
ITEM NO. | DESCRIPTION | QTTY | UNIT | TOTAL COST | UNIT COST
I | GENERAL REQUIREMENTS
a. | Temporary Facilities | 1 | lot |  | 0
b. | Mobilization and Demobilization | 1 | lot |  | 0
c. | Permits | 1 | lot |  | 0
d. | ESMP and/or Safety Health Program | 1 | lot |  | 0
| Sub-total of I |  |  |  | 0
II | ARCHITECTURAL WORKS
A. | WALLS AND PARTITION
| Demolition Works and Waste Disposal | 76.05 | sq.m |  | 0
| Masonry Works | 76.05 | sq.m |  | 0
| Door Works | 14 | sq.m |  | 0
| Painting Works (Antibacterial) | 152.1 | sq.m |  | 0
B. | CEILING WORKS
| PVC Ceiling Panels (with complete materials and accessories) | 85.06 | sq.m |  | 0
C. | CONSTRUCTION OF COMFORT ROOMS |  |  |  | 0
| Tiling Works | 85.06 | sq.m |  | 0
| Ceiling Works | 11.52 | sq.m |  | 0
| Plumbing and Sanitary Works (with complete materials and accessories) | 5 | sets |  | 0
| Sub-total of II |  |  |  | 0
III | ELECTRICAL WORKS
A. | Boxes and Conduits
Boxes
| Junction Box | 50 | pcs |  | 0
| Utility Box | 50 | pcs |  | 0
| Square Box | 7 | pcs |  | 0
| Pull box | 1 | lot |  | 0
| Wire Gutter Box | 1 | lot |  | 0
| Accessories and Consumables | 1 | lot |  | 0
Conduits
| 20mm dia PVC pipes | 150 | ln.m |  | 0
| 25mm dia PVC pipes | 75 | ln.m |  | 0
| 32mm dia PVC pipes | 75 | ln.m |  | 0
| 65mm dia PVC pipes | 25 | ln.m |  | 0
| Hangers and Supports | 1 | ln.m |  | 0
| Accessories and Consumables | 1 | lot |  | 0
B. | Wires and Cables
THHN/THWN Wires
| 60mm2 THHN/THWN Wire Red | 150 | ln.m |  | 0
| 60mm2 THHN/THWN Wire Yellow | 150 | ln.m |  | 0
| 60mm2 THHN/THWN Wire Blue | 150 | ln.m |  | 0
| 60mm2 THHN/THWN Wire White | 150 | ln.m |  | 0
| 8.0mm2 THHN/THWN Wire Red | 135 | ln.m |  | 0
| 8.0mm2 THHN/THWN Wire Yellow | 135 | ln.m |  | 0
| 8.0mm2 THHN/THWN Wire Blue | 135 | ln.m |  | 0
| 8.0mm2 THHN/THWN Wire White | 135 | ln.m |  | 0
| 5.5mm2 THHN/THWN Wire Red | 1250 | ln.m |  | 0
| 5.5mm2 THHN/THWN Wire Yellow | 1250 | ln.m |  | 0
| 5.5mm2 THHN/THWN Wire Blue | 1250 | ln.m |  | 0
| 5.5mm2 THHN/THWN Wire White | 1250 | ln.m |  | 0
| 3.5mm2 THHN/THWN Wire Red | 1250 | ln.m |  | 0
| 3.5mm2 THHN/THWN Wire Yellow | 1250 | ln.m |  | 0
| 3.5mm2 THHN/THWN Wire Blue | 1250 | ln.m |  | 0
| 3.5mm2 THHN/THWN Wire White | 1250 | ln.m |  | 0
| Accessories and Consumables | 1 | lot |  | 0
TW Wires (Grounding)
| 14mm2 TW Wire Green | 150 | ln.m |  | 0
| 8.0mm2 TW Wire Green | 135 | ln.m |  | 0
| 3.5mm2 TW Wire Green | 1250 | ln.m |  | 0
C. | Panel Boards and Circuit breakers
Panel Boards
| Panel MPB | 1 | pcs |  | 0
Main: 150AT/150AF,3P,230V,60Hz MCCB
Branches:7-40AT/100AF,3P,230V,60Hz,MCCB
7-20AT/100AF,3P,230V,60Hz,MCCB
Spare: 2-40AT/100AF,2P,230V,60Hz,MCCB
2-20AT/100AF,3P,230V,60Hz,MCCB
| Panel MDP | 1 | pcs |  | 0
Main: 150AT/150AF,3P,230V,60Hz MCCB
Branches:1-125AT/150AF,3P,400V,60Hz,MCCB
1-40AT/50AF,3P,400V,60Hz,MCCB
Spare: 4-30AT/50AF,3P,400V,60Hz,MCCB
Enclosed Circuit breakers
| 40AT/100AF,3P,230V,60Hz,MCCB Enclosed in Nema 3R | 7 | pcs |  | 0
| 20AT/100AF,3P,230V,60Hz,MCCB Enclosed in Nema 3R | 7 | pcs |  | 0
Lighting fixtures
| 600x600 48W Lighting fixtures | 25 | pcs |  | 0
| Emergency Light | 7 | pcs |  | 0
| Exit Light | 3 | pcs |  | 0
Outlets and Switches
| 2-gang,3Prong Convenient outlet | 24 | pcs |  | 0
| Emergency Outlet | 15 | pcs |  | 0
| Exit Light Outlet | 7 | pcs |  | 0
| 2 gang Switch | 6 | pcs |  | 0
| 1 gang Switch | 18 | pcs |  | 0
| Sub-total of III |  |  |  | 0
IV | SPECIAL EQUIPMENT
MECHANICAL VENTILATION SYSTEM
a. Air handling Unit
| Ceiling Concealed Ducted 3TR | 5 | pcs |  | 0
| Refrigeration and Condensate Drain piping Works | 1 | lot |  | 0
| Hangers and Support for ACU | 1 | lot |  | 0
| ACCU Platform | 1 | lot |  | 0
b. Fan Blowers
| Centrifugal SISW BC Exhaust fan 1500CFM @5.0"wg TSP 220V/3Ph?60h | 5 | pcs |  | 0
| Variable Frequency Drive, 1KW, 240V, 3Ph,60Hz | 6 | pcs |  | 0
| Spring Vibrator Insulator | 24 | pcs |  | 0
| Flatform | 1 | lot |  | 0
c.Filter Sytem
| Bag in bag out Filter box with hepa filter and Bubble Tight Damper | 2 | pcs |  | 0
Hepa Filter specs box type Hepa Filter aluminum separator high capacityof 1000 CFM 99.995% Efficency 24"x24"(Blower TSP 3.0WG) with Bubble Tight Damper
| Bag in bag out Filter box with hepa filter and Bubble Tight Damper | 2 | pcs |  | 0
Hepa Filter specs box type Hepa Filter aluminum separator high capacityof 1500 CFM 99.995% Efficency 24"x24"(Blower TSP 3.0WG) with Bubble Tight Damper
| Fan Filter Unit w/ 4x2 Hepa Filter 99.99% efficiency | 3 | pcs |  | 0
d. Ducting Works
| Exhaust Air Grill 400 x200 with OBVD | 11 | pcs |  | 0
| Exhaust Air Grill 200 x200 with OBVD | 7 | pcs |  | 0
| Diffuser 300 x 300 with OBVD | 13 | pcs |  | 0
| Manual Volume Damper (500x500) | 25 | pcs |  | 0
| Flexible Duct with Insulation | 15 | pcs |  | 0
| GI Sheet 0.7mm | 80 | pcs |  | 0
| GI Sheet 1mm | 25 | pcs |  | 0
| Angle Corner | 414 | pcs |  | 0
| Rubber Gasket | 7 | pcs |  | 0
| Bolt and Nut 10mm | 500 | pcs |  | 0
| Expansion Shield 3/8 | 2 | boxes |  | 0
| Full thread 3/8 | 50 | pcs |  | 0
| Rugby | 17 | gals |  | 0
| Vulcaseal | 9 | gals |  | 0
| Red Oxide paint | 5 | gals |  | 0
| Gray QDE | 24 | gals |  | 0
| Angle bar 1 1/2 x 1 1/2 x 3mm thickness | 25 | pcs |  | 0
| Angle Bar 2 x2 x4mm | 30 | pcs |  | 0
| PE Foam Insulation 25mm | 10 | pcs |  | 0
| Duct tape 3" | 20 | pca |  | 0
| Thinner | 9 | gals |  | 0
| Paint Brush 2" | 30 | pcs |  | 0
| Welding Rod 6011 | 3 | boxes |  | 0
| Spiral Duct SS 12"x 6m | 6 | pcs |  | 0
| Spiral Duct SS 12"Elbow 90deg | 6 | pcs |  | 0
| Spiral Duct SS Coupling 12" | 6 | pcs |  | 0
| Termination Funnel for Spiral Duct | 6 | pcs |  | 0
| Flat bar 1"x 1mm | 10 | pcs |  | 0
| Fresh Air Louver | 7 | pcs |  | 0
| Consumables | 1 | lot |  | 0
| Sub-total of IV |  |  |  | 0
| GRAND TOTAL |  |  |  | 0