## Sheet1
Bill of Quantities of Masbate Provincial Hospital
Item No. | Description | Quantity | Unit | Rate | Amount
I. | Site Works
a. | Layout and Staking | 1 | lot |  | 0
b. | Excavation Works | 83.69 | cu.m |  | 0
c. | Backfilling Materials and Compaction | 269.09 | cu.m |  | 0
e. | Health and Safety Requirements/ ESF Requirements | 1 | lot |  | 0
| Sub-Total Cost for Site Works |  |  |  | 0
II. | Forms and Scaffolding
a. | Form Works and Scaffolding (Wood Frame including plywood and cwn) | 1 | lot |  | 0
| Sub-Total Cost for Forms and Scaffolding |  |  |  | 0
III. | Concrete Works
a. | Concreting Works (inclusive of cement, sand and gravel) | 108.6 | cu.m. |  | 0
b. | RSB (16mm, 12mm and 10mm including the cost of tie wires) | 8866.5 | kgs |  | 0
| Sub-Total Cost for Concrete Works |  |  |  | 0
IV. | Masonry Works
a. | Exterior Walls (Including protruded walls)
a.1 | 6" CHB ( including cement, sand, rsb and tie wires) | 167.36 | sqm |  | 0
b. | Interior Walls
b.1 | 4" CHB ( including cement, sand, rsb and tie wires) | 433.44 | sqm |  | 0
c. | Parapet Wall
c.1 | 4" CHB ( including cement, sand, rsb and tie wires) | 14.64 | sqm |  | 0
d. | Ramp Wall and Plan Box
d.1 | 4" CHB ( including cement, sand, rsb and tie wires) | 8.48 | sqm |  | 0
| Sub-Total Cost for Masonry Works |  |  |  | 0
V. | Roofing Works
0.90m. x 8.00m. Ga. 24 Pre-Painted Rib-Type
a. | Ga. 24 G.I. Roofing Sheets (Pre-painted) | 63 | sheets |  | 0
b. | Ga. 24 Pre-painted wall end cap flashing (0.45m x 2.44m x 0.5mm thk) | 25 | pcs |  | 0
c. | Ga. 24 Pre-painted wall end flashing (0.45m x 2.44m x 0.5mm thk) | 7 | pcs |  | 0
d. | 50mm x 100mm x 3mm C-Purlins x 6.00m | 79 | pcs |  | 0
e. | 50mm x 50mm x 6mm Angle Bar Cleats x 6.00m | 2 | pcs |  | 0
f. | 8mm Ø x 150mm length Anchor Bolts with Washers and Nuts | 150 | pcs |  | 0
g. | Welding Rod | 25 | kgs |  | 0
h. | 63mm Tekscrews | 450 | pcs |  | 0
| Sub-Total Cost for Roofing Works |  |  |  | 0
VI. | Carpentry Works
a. | Ceiling Works (Interior)
a.1 | 4.5mm Fiber Cement Board | 72 | sheets |  | 0
a.2 | Double Furring ga 24 (5m) | 104 | pcs |  | 0
a.3 | Carrying Channel ga 24 (5m) | 35 | pcs |  | 0
a.4 | Wall Angle (3m) | 97 | pcs |  | 0
a.5 | W-clip | 85 | pcs |  | 0
a.6 | Black Screw | 2000 | pcs |  | 0
b. | Ceiling Works (Exterior)
b.1 | 4.5mm Fiber Cement Board | 31 | sheets |  | 0
b.2 | Double Furring ga 24 (5m) | 47 | pcs |  | 0
b.3 | Carrying Channel ga 24 (5m) | 19 | pcs |  | 0
b.4 | Wall Angle (3m) | 52 | pcs |  | 0
b.5 | W-clip | 16 | pcs |  | 0
b.6 | Black Screw | 860 | pcs |  | 0
c. | Counter @ Nurse Station
c.1 | 3/4" thk Marine Plywood | 5 | sheets |  | 0
c.2 | 1/2" thk Marine Plywood | 4 | sheets |  | 0
c.3 | 1/4" x 3/4" Wood Edging | 25 | bd.ft |  | 0
c.4 | 1/4" x 1/2" Wood Edging | 12 | bd.ft |  | 0
c.5 | 2" x 2" Good Lumber | 150 | bd.ft |  | 0
c.6 | Drawer Guide and Accessories | 9 | sets |  | 0
c.7 | Stainless Steel Handle | 9 | sets |  | 0
c.8 | Consumables (fin. Nails, wood glue, etc.) | 1 | lot |  | 0
d. | Cabinets
d.1 | 3/4" thk Marine Plywood | 3 | sheets |  | 0
d.2 | 1/4" x 3/4" Wood Edging | 10 | bd.ft |  | 0
d.3 | 2" x 2" Good Lumber | 105 | bd.ft |  | 0
d.4 | Concealed Hinges | 4 | sets |  | 0
d.5 | Stainless Steel Handle | 4 | sets |  | 0
d.6 | Consumables (fin. Nails, wood glue, etc.) | 1 | lot |  | 0
| Sub-Total Cost for Carpentry Works |  |  |  | 0
VII. | Doors and Windows
a. | Doors
a.1 | D-1 complete with hardware and accessories: 3,700mm (W) x 2,700mm (H) | 1 | set |  | 0
a.2 | D-2 complete with hardware and accessories: 1,400mm (W) x 2,100mm (H) | 10 | sets |  | 0
a.3 | D-3 complete with hardware and accessories: 900mm (W) x 2,100mm (H) | 11 | sets |  | 0
a.4 | D-4 complete with hardware and accessories: 900mm (W) x 2,100mm (H) | 6 | sets |  | 0
a.5 | D-5 complete with hardware and accessories: 900mm (W) x 2,100mm (H) | 1 | set |  | 0
a.6 | D-6 complete with hardware and accessories: 1,800mm (W) x 2,100mm (H) | 2 | sets |  | 0
b. | Windows
b.1 | W-1 complete with accessories: 3,200mm (W) x 1,500mm (H) | 4 | sets |  | 0
b.2 | W-2 complete with accessories: 1,600mm (W) x 1,500mm (H) | 3 | sets |  | 0
b.3 | W-3 complete with accessories: 800mm (W) x 600mm (H) | 4 | sets |  | 0
b.4 | W-4 complete with accessories: 2,400mm (W) x 2,700mm (H) | 1 | set |  | 0
b.5 | W-5 complete with accessories: 3,425mm (W) x 2,700mm (H) | 1 | set |  | 0
b.6 | W-6 complete with accessories: 3,200mm (W) x 500mm (H) | 3 | sets |  | 0
| Sub-Total Cost for Doors and Windows |  |  |  | 0
VIII. | Finishing Works
a. | Cabinets
a.1 | Painting Works for Cabinetry (primer, top coat, putty, thinner and other painting consumables) | 50 | sqm |  | 0
b. | Interior Walls
b.1 | Painting Works for Interior Walls (primer, top coat, putty, thinner and other painting consumables) | 900 | sqm |  | 0
c. | Exterior Walls
c.1 | Painting Works for Exterior Walls (primer, top coat, putty, thinner and other painting consumables) | 500 | sqm |  | 0
d. | Ceiling
d.1 | Painting Works for Ceiling (primer, top coat, putty, thinner and other painting consumables) | 300 | sqm |  | 0
e. | Rolled Vinyl (Ward Room) FF-1
e.1 | Rolled Vinyl | 100 | sq.m |  | 0
e.2 | Vinyl Adhesive (4kg) | 5 | pail |  | 0
f. | Tile Works (Interior) FF-2
f.1 | 600mm x 600mm Ceramic Floor Tiles (including tile adhesive and grout) | 60.84 | sqm |  | 0
g. | Tile Works (Exterior) FF-3
g.1 | 300mm x 300mm Ceramic Floor Tiles (including tile adhesive and grout) | 22.68 | sqm |  | 0
h. | Tile Works (Comfort Rooms) FF-4
h.1 | 300mm x 300mm Ceramic Floor Tiles (including tile adhesive and grout) | 30.6 | sqm |  | 0
h.2 | 300mm x 600mm Ceramic Floor Tiles (including tile adhesive and grout) | 82.98 | sqm |  | 0
i. | Concrete Topping
i.1 | Concreting Works (including cement and sand) | 60.84 | sqm |  | 0
j. | Tile Works (Counter @ Pantry)
j.1 | 300mm x 300mm Ceramic Floor Tiles (including tile adhesive and grout) | 1.89 | sqm |  | 0
| Sub-Total Cost for Finishing Works |  |  |  | 0
IX. | Metal Works
a. | 50mm Ø Stainless Railings | 75 | lm |  | 0
b. | Logo and Stainless Steel Signage | 1 | lot |  | 0
c. | Miscellaneous Materials | 1 | lot |  | 0
| Sub-Total Cost for Metal Works |  |  |  | 0
X. | Furniture’s
a. | Hospital Bed | 5 | pcs |  | 0
b. | Side Table | 5 | pcs |  | 0
c. | Closet/Cabinet | 5 | pcs |  | 0
| Sub-Total Cost for Finishing Works |  |  |  | 0
XI. | Plumbing Works
a. | Sewage System
a.1 | 100mm dia. PVC Pipe | 14 | pcs |  | 0
a.2 | 50mm dia. PVC Pipe | 16 | pcs |  | 0
a.3 | 100mm dia. PVC Wye | 3 | pcs |  | 0
a.4 | 100mm x 50mm dia. PVC Wye | 13 | pcs |  | 0
a.5 | 50mm dia. PVC Wye | 9 | pcs |  | 0
a.6 | 50mm dia. PVC Sanitary Tee | 17 | pcs |  | 0
a.7 | 100mm dia. PVC 1/8 Bend | 4 | pcs |  | 0
a.8 | 50mm dia. PVC 1/8 Bend | 10 | pcs |  | 0
a.9 | 50mm dia. PVC 1/4 Bend | 3 | pcs |  | 0
a.10 | 100mm dia. PVC Socket Coupling | 6 | pcs |  | 0
a.11 | 50mm dia. PVC Socket Coupling | 15 | pcs |  | 0
a.12 | 50mm dia. PVC P-Trap | 23 | pcs |  | 0
a.13 | 100mm dia. PVC Clean-out Adapter | 3 | pcs |  | 0
a.14 | 50mm dia. PVC Clean-out Adapter | 15 | pcs |  | 0
a.15 | Solvent Cement | 2 | cans |  | 0
b. | Cold Water Distribution System
b.1 | 3/4" dia. Sched. 40 G.I. Pipe | 7 | pcs |  | 0
b.2 | 1" dia. Sched. 40 G.I. Pipe | 15 | pcs |  | 0
b.3 | 1 1/2" x 1" dia. G.I. Pipe Reducer | 5 | pcs |  | 0
b.4 | 1" x 3/4" dia. G.I. Pipe Reducer | 17 | pcs |  | 0
b.5 | 1" dia. Sched. 40 G.I. Tee | 25 | pcs |  | 0
b.6 | 3/4" dia. Sched. 40 G.I. Tee | 20 | pcs |  | 0
b.7 | 1" dia. G.I. 90 degrees Elbow | 8 | pcs |  | 0
b.8 | 3/4" dia. G.I. 90 degrees Elbow | 10 | pcs |  | 0
b.9 | 1" dia. G.I. Socket Coupling | 10 | pcs |  | 0
b.10 | 3/4" dia. G.I. Socket Coupling | 10 | pcs |  | 0
b.11 | 3/4" dia. G.I. Threaded Tee | 15 | pcs |  | 0
b.12 | 3/4" dia. G.I. Cap | 5 | pcs |  | 0
b.13 | 1 1/2" dia. G.I. Female Thread Adaptor | 20 | pcs |  | 0
b.14 | 3/4" dia. G.I. Male Threaded Adaptor | 20 | pcs |  | 0
b.15 | 3/4" dia. G.I. Threaded Elbow | 15 | pcs |  | 0
b.16 | 1/2" dia. Stainless Steel 90 degrees Elbow | 20 | pcs |  | 0
b.17 | 1/2" dia. Nipple | 15 | pcs |  | 0
b.18 | 1/2" dia. Brass Gate Valve | 8 | pcs |  | 0
b.19 | 1/2 dia. Brass Hose Faucet | 2 | pcs |  | 0
c. | Plumbing Fixtures and Accessories
c.1 | Water Closet | 6 | sets |  | 0
c.2 | Wall Hung Wash Basin | 22 | sets |  | 0
c.3 | Angle valve | 6 | pcs |  | 0
c.4 | Shower Head | 6 | pcs |  | 0
c.5 | Shower valve | 6 | pcs |  | 0
c.6 | Stainless-type faucet | 22 | pcs |  | 0
c.7 | Stainless Steel Kitchen Sink | 1 | pc |  | 0
c.8 | Wall Mount Faucet w/ Aerator J-Type | 1 | pc |  | 0
c.9 | Heavy Duty Floor Brass Strainer 4"x4" | 6 | pcs |  | 0
c.10 | Stainless Steel Roof Drain | 6 | pcs |  | 0
c.11 | Soap Holder | 6 | pcs |  | 0
c.12 | Tissue Paper Holder | 6 | pcs |  | 0
c.13 | Wall Mounted Safety Grab Bar | 6 | pcs |  | 0
c.14 | Rub Hook | 18 | pcs |  | 0
c.15 | Water Meter | 1 | pc |  | 0
d. | Septic Tank (3 Chambers)
d.1 | 150mm CHB | 110 | pcs |  | 0
d.2 | Portland Cement | 75 | bags |  | 0
d.3 | Washed Sand | 5 | cu.m |  | 0
d.4 | Crushed Gravel | 9 | cu.m |  | 0
d.5 | 12mm diameter RSB | 12 | pcs |  | 0
d.6 | 10mm diameter RSB | 24 | pcs |  | 0
d.7 | #16 G.I. Tie Wire | 2 | kgs |  | 0
d.8 | Form Lumber | 25 | bd.ft |  | 0
d.9 | 1.22m x 2.44m x 6mm thk Ordinary Plywood | 10 | pcs |  | 0
d.10 | CWN Assorted | 1 | kg |  | 0
e. | Catch Basin
e.1 | 100mm CHB | 60 | pcs |  | 0
e.2 | Portland Cement | 40 | bags |  | 0
e.3 | Washed Sand | 3 | cu.m |  | 0
e.4 | Crushed Gravel | 5 | cu.m |  | 0
e.5 | 10mm diameter RSB | 8 | pcs |  | 0
e.6 | #16 G.I. Tie Wire | 1 | kg |  | 0
e.7 | Form Lumber | 11 | bd.ft |  | 0
e.8 | 1.22m x 2.44m x 6mm thk Ordinary Plywood | 3 | pcs |  | 0
e.9 | CWN Assorted | 2 | kgs |  | 0
f. | Elevated Stainless Steel Water Tank with | 1 | lot |  | 0
1HP Water Pump 2,000L
(to connect with existing water line; with inclusion of super structure, brackets, wirings, etc.)
g. | Miscellaneous Items | 1 | lot |  | 0
(Teflon tape, Rubber tape, Connector, Hardware’s, etc.)
| Sub-Total Cost for Plumbing Works |  |  |  | 0
XII. | Mechanical Works
a. | Intake Grille Blade (400mm x 400mm x 1,500mm) | 1 | set |  | 0
b. | Supply Air Grille (150mm x 300mm) | 10 | sets |  | 0
c. | 1,500 cfm capacity intake centrifugal electric motor fan, belt driven with Control Switch | 5 | sets |  | 0
(with complete accessories, wirings, breaker, etc.)
d. | G.I. sheets ga 22 Ducting | 1 | lot |  | 0
(with inclusion of brackets, accessories, welding works, etc.)
e. | HEPA Filters (for ducting) | 2 | sets |  | 0
f. | 1,700 cfm exhaust centrifugal electric motor fan, belt driven with 5 Control Switch | 1 | set |  | 0
(with complete accessories, wirings, breaker, etc.)
g. | Magnehelic Gauge Complete with Accessories | 5 | sets |  | 0
h. | 1.5hp Wall Mounted Air-conditioning Unit | 6 | sets |  | 0
with HEPA filter
(inclusive of copper piping, circuitbreaker, accessories, braces, etc.,)
i. | Miscellaneous Materials | 1 | lot |  | 0
| Sub-Total Cost for Mechanical Works |  |  |  | 0
XIII. | Electrical Works
a. | Lighting Fixtures
a.1 | Surface Mounted Lighting Fixture w/ 25W CFL in 4 1/4" Ceiling Receptacle | 28 | sets |  | 0
a.2 | 2 - 40W Surface Mounted Fluorescent Lamp fixture | 18 | sets |  | 0
a.3 | Emergency Light | 8 | pcs |  | 0
b. | Wiring Devices and Boxes
b.1 | One Gang Switch | 23 | pcs |  | 0
b.2 | Two Gang Switch | 3 | pcs |  | 0
b.3 | Three Gang Switch | 2 | pcs |  | 0
b.4 | 2" x 4" Utility box, GA #16, Deep type | 49 | pcs |  | 0
b.5 | 4" Junction box w/ cover, GA #16, Deep type | 28 | pcs |  | 0
b.6 | Pull Box 6" x 6" | 4 | pcs |  | 0
b.7 | Duplex Convenience Outlet | 35 | pcs |  | 0
b.8 | Special Outlet (Airconditioning Unit) | 5 | pcs |  | 0
b.9 | Emergency Light Outlet (Single) | 8 | pcs |  | 0
c. | Wires and Conduits
c.1 | #12 THW | 8 | box |  | 0
c.2 | #14 THW | 9 | box |  | 0
c.3 | 8.0 mm² THW | 50 | lm |  | 0
c.4 | 20mm Ø PVC | 70 | pcs |  | 0
c.5 | 25mm Ø PVC | 70 | pcs |  | 0
c.6 | 50mm Ø PVC | 3 | pcs |  | 0
c.7 | 32mm Ø RSC | 15 | pcs |  | 0
d. | Panel Board and Circuit Breaker
d.1 | MDP Main:1-100AT, 2P, 240V, 60Hz Branches: | 1 | set |  | 0
20-20AT, 2P
d.2 | Service Entrance Post | 1 | lot |  | 0
e. | Miscellaneous Materials | 1 | lot |  | 0
| Sub-Total Cost for Electrical Works |  |  |  | 0
| Total Project Cost: |  |  |  | 0